

Hanwha Techwin is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Techwin is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Techwin is committed to the continued development of innovative systems products for professional security applications.

For additional information, visit http://www.hanwha-security.com/

1. **PRODUCTS**
   1. **EQUIPMENT**
      1. Manufacturer : Hanwha Techwin(http://www.hanwha-security.com/)
      2. Model : XNP-8250R
      3. Alternates : XNP-8300RW
   2. **GENERAL DESCRIPTION**
      1. Video Compression and Transmission – The camera shall have the following properties relating to the video signals it produces.
         1. H.265, H.264 and MJPEG compression, each derived from a dedicated encoder and capable of being streamed independently and simultaneously.
            1. H.265 and H.264 : Max. 30/25fps(60Hz/50Hz)
            2. MJPEG : Max. 30/25fps(60Hz/50Hz)
         2. The camera shall be able to configure up to 10 independent video stream profiles with differing encoding, quality, frame rate, resolution, and bit rate settings.
         3. The camera shall be able to configure various resolution selections.
            1. 16:9 aspect ratio : 3328x1872, 3072x1728, 2688x1520, 1920x1080, 1280x720, 800x448, 640x360
            2. 4:3 aspect ratio : 2592x1944, 1600x1200, 1280x960, 1024x768, 800x600, 640x480, 320x240
            3. 5:4 aspect ratio : 1280x1024, 720x576
            4. 3:2 aspect ratio : 720x480
         4. The camera shall support unicast video streaming up to 20 users.
         5. The camera shall support multicast video streaming up to 128 users and multiple streaming up to 10 profiles.
         6. The camera shall be able to configure Dynamic DNS (DDNS). DDNS shall be provided with no additional cost by the manufacturer.
         7. The camera shall provide WiseStream Ⅱ, Dynamic GOV and Dynamic FPS to efficiently manage bit rate of the video stream and reduce storage.
      2. Camera – The camera device shall have the following physical and performance properties:
         1. IK10 rated for protection against impacts for camera body.
         2. True day/night operation with scheduling and options for external devices.
            1. Low light level operation to 0.1 lux at F1.6 in color mode and 0 lux in black and white mode with IR illumination on.
         3. The camera shall be able to produce clear images in highly contrast scenes with multi-exposure wide dynamic range.
         4. The camera shall support digital noise reduction using both 2D and 3D noise reduction technology.
         5. The camera shall be able to configure 32 privacy masking areas with rectangular zones.
         6. The camera shall have the defog feature to remove fogginess of scene which can be triggered automatically from the fog detection event.
         7. The camera shall provide video display on smart phone (iPhone, Android) to adjust viewing angle, rotation and focus.
      3. Intelligence and Analytics – The camera shall have a suite of intelligent analytic functions.
         1. Motion detection with 8 definable detection areas with 8 point polygonal zones, and minimum/maximum object size.
         2. Detection of logical events of specified conditions from the camera’s video
            1. Directional detection
            2. Fog detection
            3. Face detection
            4. Motion detection
            5. Appear/Disappear
            6. Enter/Exit
            7. Loitering
            8. Tampering
            9. Virtual line
            10. Shock detection
            11. Audio detection with NW I/O Box (External Device)
            12. Sound classification with NW I/O Box (External Device)
         3. Detection and classification with NW I/O Box of the following sound.
            1. Scream
            2. Gunshot
            3. Explosion
            4. Crashing glass
      4. Interoperability – The camera shall be ONVIF Profile S / G and T compliant.
      5. The camera shall possess the following further characteristics:
         1. Built-in web server, accessed via non-plugin browsers including Google Chrome, MS Edge, Mozilla Firefox and Apple Safari.
         2. The camera shall provide streaming to multiple smart phones with DDNS provided freely from the manufacturer. In addition, the application shall be available for both iOS and Adroid, free of charge with search keyword, ‘Wisenet Mobile’.
         3. Micro SD/SDHC/SDXC memory card with configurable pre-alarm and post-alarm recording intervals
         4. NAS recording option with configurable pre-alarm and post-alarm recording intervals
         5. Alarms and notifications
            1. alarm notification triggers:

Analytics

Network disconnect

Alarm input with NW I/O Box

* + - * 1. available notification means upon trigger:

File Upload via FTP and E-mail

Notification via E-mail

Local storage (SD / SDHC / SDXC) or NAS recording at event triggers

Alarm output with NW I/O Box

PTZ preset

Handover

* + - 1. Pixel Counter available in the web viewer.
      2. HPoE capable
      3. IP66, IK10(Body only), NEMA4X, NEMA-TS 2(2.2.8, 2.2.9)
      4. This device has been verified using STP cable. The use of appropriate GND grounding and STP cable is recommended to effectively protect your product and property from transient voltage, thunder stroke, communication interruption.
      5. NDAA Compliant
  1. **DETAILED SPECIFICATIONS**
     1. Video
        1. Imaging device : 1/2.8" CMOS
        2. Scanning : Progressive
        3. Minimum Illumination
           1. Color: 0.1Lux (F1.6, 1/30sec)
           2. B/W: 0Lux (IR LED On)
     2. Lens
        1. Focal length : 5~125mm(25X) zoom
        2. Digital zoom : 32x
        3. Max. Aperture Ratio : F1.6(Wide)~F3.73(Tele)
        4. Field of View
           1. H : 57.42°(Wide)~2.71°(Tele)
           2. V : 33.54°(Wide)~1.55°(Tele)
        5. Min. Object Distance : 3m(9.84ft)
        6. Focus Control : Oneshot AF, Focus save
        7. Lens Type : DC auto iris
     3. PTR
        1. PAN : 360° Endless
        2. PAN Speed
           1. Max. 700°/sec
           2. Manual : 0.024°/sec~250°/sec
        3. TILT : 110° (-20°~90°)
        4. TILT Speed
           1. Max. 500°/sec
           2. Manual : 0.024°/sec~250°/sec
        5. Sequence : Preset(300ea), Swing, Group(6ea), Trace, Tour, Auto Run, Schedule
        6. Preset Accuracy
           1. ±0.1° (±20°C by temperature at preset setting),
           2. ±0.2°(the other temperature)
     4. Operational Functions
        1. IR Viewable Length : 200m(656.17ft), Wise IR
        2. Camera Title
           1. Off / On (Displayed up to 85 characters)
           2. W/W : English / Numeric / Special characters
           3. Common : Multi-line (Max. 5), Color (Grey/Green/Red/Blue/Black/White),Transparency, Auto scale by resolution
           4. Image : BMP 200x200 pixel
        3. Direction Indicator : Support
        4. Day/Night Setting : Auto (ICR) / Color / B/W / External / Schedule
        5. Backlight Compensation : Off / BLC / HLC / WDR
        6. Contras Enhancement : Off/On(SSDR)
        7. WDR : extreme WDR(120dB)
        8. Digital Noise Reduction (DNR) : Support (SSNR Ⅴ)
        9. Digital Image Stabilization (DIS) : Support (built-in gyro sensor)
        10. Defog : Support
        11. Motion Detection : Off / On (8ea, 8-point polygonal)
        12. Privacy Masking : Off / On (32 zones, rectangular)
            1. Color: Grey / Green / Red / Blue / Black / White
            2. Mosaic
        13. Gain Control : Support
        14. White Balance : ATW, NARROW ATW, Manual, AWC, OUTDOOR, INDOOR, MERCURY, SODIUM
        15. Electronic Shutter Speed : Min / Max / Anti-flicker (2 ~ 1/12,000sec)
        16. Image Rotation
            1. Flip : Off / On
            2. Mirror : Off / On
        17. Alarm I/O : Support with external NW I/O Box
        18. Alarm Triggers
            1. Alarm Input(with NW I/O Box)
            2. Analytics
            3. Network Disconnection
        19. Alarm Events
            1. File Upload via FTP and E-mail, Notification via E-mail
            2. SD/SDHC/SDXC or NAS recording at event triggers
            3. Alarm output with NW I/O Box
            4. Handover
            5. PTZ preset
        20. Pixel Counter : Support
        21. Webpage Language : English, Korean, Chinese, French, Italian, Spanish, German, Japanese, Russian, Swedish, Portuguese, Czech, Polish, Turkish, Dutch, Hungarian, Greek
        22. Storage : Micro SD/SDHC/SDXC 1TB (2 slots x 512GB)
        23. Analytics : Directional detection, Fog detection, Face detection, Motion detection, Appear/Disappear, Enter/Exit, Loitering, Tampering, Virtual line, Shock detection Audio detection with NW I/O Box, Sound classification with NW I/O Box
        24. Auto Tracking
            1. Object auto tracking(Person/Vehicle)
            2. Target lock tracking
        25. Water Removal
            1. Spinning Dry
            2. Heat film
        26. Memory : 4GB RAM, 512MB Flash
     5. Video Streams
        1. Video compression : H.265, H.264, MJPEG
        2. Resolution : 3328x1872, 3072x1728, 2592x1944, 2688x1520, 1920x1080, 1600x1200, 1280x1024, 1280x960, 1280x720,1024x768, 800x600, 800x448, 720x576, 720x480, 640x480, 640x360, 320x240
        3. Maximum Framerate
           1. H.265 / H.264 : Max. 30fps/25fps(60Hz/50Hz)
           2. MJPEG : Max. 30/25fps(60Hz/50Hz)
        4. Smart Codec
           1. Manual Mode (area-based : 5EA)
           2. WiseStream Ⅱ
        5. Bitrate Control Method
           1. H.265 / H.264: CBR or VBR
           2. MJPEG: VBR
        6. Streaming Capability : Multiple streaming (Up to 10 profiles)
        7. Streaming method : Unicast / Multicast
        8. Simultaneous Users : Unicast (20 users) / Multicast (128 user)
        9. Profile set : Max. 10 ea
        10. Interoperability : ONVIF Profile S / G / T, SUNAPI(HTTP API), Open Platform
     6. Network
        1. Connectivity : Metal Shielded RJ-45(10/100BASE-T)
        2. Protocol
           1. IP v4 / v6, TCP, UDP
           2. Configuration: DHCP, LLDP
           3. Web service: HTTP, HTTPS
           4. Network Service: ARP, Bonjour, DNS, ICMP, NTP, PIM-SM, SNMP v1/2c/3 – MIB-2, UPnP
           5. Media: RTP, RTCP, RTSP
           6. Unicast: SRTP
           7. Multicast: IGMP, PIM-SM
           8. Notifications: FTP, SMTP
        3. DDNS – The camera shall support DDNS services offered by the manufacturer and others publicly available service offerings
        4. QoS – Layer 3 DSCP
        5. Security Feature
           1. User password protection
           2. The device shall not provide a manufacture default password. Default password change shall be required to access the camera.
           3. A minimal level of password complexity shall be required by the camera.
           4. The camera shall not have a manufacture back-door password.
           5. The manufacturer shall provide a tool that provides the ability to make password changes to multiple cameras at the same time.
           6. IP address filtering – List of allowed or blocked IP addresses
           7. HTTPS(SSL/TLS) login authentication
           8. HTTPS(SSL/TLS) secured communication
           9. Digest login authentication
           10. User access log
           11. 802.1X Authentication(EAP-TLS, EAP-LEAP)
           12. Device Certificate(Hanwha Techwin Root CA)
        6. Discovery – The manufacturer shall offer a discovery program to identify all devices of them on the network.
        7. Configuration – The manufacturer shall offer a configuration program that remotely allows users to change settings on multiple cameras simultaneously.
        8. Firmware upgrade – The manufacturer shall offer a program capable of upgrading multiple cameras at the same time (not requiring access to individual cameras).
        9. Camera backup setting – The manufacturer shall provide a program that provides the ability to save multiple camera settings to a file and restore these camera settings if needed.
        10. Reporting – The manufacturer shall provide a tool that can generate a report including thumbnail view, MAC address, IP address, serial number and other camera settings.
     7. Electrical
        1. Power
           1. Input Voltage : HPoE(IEEE802.3bt, Class6, Type3, Injector included)
           2. Power Consumption : HPoE(Camera only): Max 40W, typical 20W
     8. Mechanical And Environmental
        1. Color/Material
           1. Body : White / Aluminum
           2. Head : Black / Polycarbonate
           3. Hard-coated dome
        2. RAL Code
           1. White : RAL9003
           2. Black : RAL9005
        3. Dimensions (W x H) : Ø158x293.3mm(6.22x11.55")
        4. Weight : 3.1Kg(6.84lb)
        5. Temperature
           1. Operating

Normal: -40°C~+55°(-40°F ~ +131°F)

Intermittent: -40°C~+60°C (-40°F ~ +140°F)

Start up should be done at above -30°C

Maximum Temperature : +60°C(+140°F)

Max Temperature based on NEMA-TS 2(2.2.7): +74°C(+165°F)

* + - * 1. Storage : -50°C~+60°C (-58°F~+140°F)
      1. Humidity
         1. Operating : Less than 95% RH (non-condensing)
         2. Storage : Less than 95% RH (non-condensing)
      2. Ingression Protection : IP66, NEMA4X, NEMA-TS 2(2.2.8, 2.2.9)
      3. Vandal Resistance : IK10 (body only)
    1. DORI
       1. Detect (25PPM/ 8PPF) : Wide: 121.5m(398.7ft) / Tele: 2813.9m(9232.1ft)
       2. Observe (63PPM/ 19PPF) : Wide: 48.6m(159.5ft)/ Tele: 1125.6m(3692.8ft)
       3. Recognize (125PPM/ 38PPF) : Wide: 24.3m(79.7ft)/ Tele: 562.8m(1846.4ft)
       4. Identify (250PPM/ 76PPF) : Wide: 12.2m(39.9ft) / Tele: 281.4m(923.2ft)
    2. EMC & Safety
       1. FCC 47 CFR Part 15 Subpart B

1. ANSI C63.4-2014 Class A
   * + 1. IC Regulation ICES-003:2016
2. ANSI C63.4-2014 Class A
   * + 1. CE EMC-Directive 2014/30/EU
3. EN 55032:2015 Class A
4. EN 50130-4:2011+A1:2014
   * + 1. VCCI-CISPR 32: Class A
       2. AS/NZS CISPR32:2015 Class A
       3. UL listed
       4. CE EN 50581:2012 (hazardous substances)
     1. Ingress Protection and Vandal Resistance
        1. ANSI / IEC60529 – Degrees of Protection Provided by Enclosures – IP66
        2. IEC EN 62262 - Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts : IK10

END OF SECTION